## Sheet1
Filename | Patient ID | Ventilation Mode | Inspiratory Hold | Pressure Type | Segment Time [min] | Respiratory Rate [per min] | Tidal Volume [mL] | PEEP [cmH2O] | MP [J/min] | SD MP | SE MP | Dynamic MP [J/min] | SD Dynamic MP | SE Dynamic MP | Airway HA [J/min] | SD Airway HA | SE Airway HA | Esophageal PTP [cmH2O.s/min] | SD Esophageal PTP | SE Esophageal PTP | Esophageal WOB [J/min] | SD Esophageal WOB | SE Esophageal WOB | Transpulmonary PTP [cmH2O.s/min] | SD Transpulmonary PTP | SE Transpulmonary PTP | Transpulmonary WOB [J/min] | SD Transpulmonary WOB | SE Transpulmonary WOB | Transpulmonary HA [J/min] | SD Transpulmonary HA | SE Transpulmonary HA | Transpulmonary Peak Pressure [cmH2O] | SD Transpulmonary Peak Pressure | SE Transpulmonary Peak Pressure | Transpulmonary Pressure Swing [cmH2O] | SD Transpulmonary Pressure Swing | SE Transpulmonary Pressure Swing
01 W_Hamilton__210903092751_Waves_001 3173644.txt | 3173644 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 20 | 524.97 | 9.17 | 22.27 | 4.27 | 0.25 | 12.71 | 2.8 | 0.16 | 9.22 | 1.96 | 0.12 | 108.29 | 131.49 | 7.62 | 6.32 | 7.54 | 0.44 | 285.43 | 136.48 | 7.91 | 15.95 | 9.18 | 0.53 | 11.1 | 3.26 | 0.2 | 19.94 | 8.18 | 0.47 | 21.54 | 5.88 | 0.34
02 W_Hamilton__210906093801_Waves_001 7903926.txt | 7903926 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 37 | 370.35 | 4.89 | 20 | 1.18 | 0.05 | 13.63 | 0.8 | 0.03 | 9.75 | 0.64 | 0.03 | 60.04 | 10.41 | 0.45 | 3.78 | 0.67 | 0.03 | 258.37 | 19.35 | 0.84 | 16.21 | 1.2 | 0.05 | 14.47 | 1.16 | 0.05 | 16.6 | 0.74 | 0.03 | 17.96 | 1.25 | 0.05
03 W_Hamilton__211006132800_Waves_001 6936544.txt | 6936544 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 13 | 505.72 | 7.23 | 9.58 | 1.01 | 0.07 | 5.08 | 0.57 | 0.04 | 3.81 | 0.46 | 0.03 | 89.99 | 56.5 | 4.19 | 5.33 | 0.96 | 0.07 | 62.19 | 38.73 | 2.87 | 4.25 | 0.93 | 0.07 | 7.3 | 0.99 | 0.07 | 10.79 | 1.35 | 0.1 | 17.29 | 1.47 | 0.11
04 W_Hamilton__211012093552_Waves_001 5693500.txt | 5693500 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 25 | 112.39 | 8.76 | 2.26 | 2.28 | 0.17 | 1.41 | 1.27 | 0.09 | 0.65 | 0.57 | 0.09 | 174.54 | 179.94 | 13.45 | -1.23 | 2.91 | 0.22 | 23.44 | 111.58 | 8.34 | 3.49 | 2.2 | 0.16 | 3.37 | 4.17 | 0.67 | 10.74 | 2.1 | 0.16 | 14.83 | 2.26 | 0.17
05 W_Hamilton__211013102028_Waves_001.txt | 211013 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 23 | 545.11 | 6.51 | 10.47 | 4.29 | 0.25 | 3.85 | 1.74 | 0.1 | 2.12 | 1.21 | 0.09 | 21.46 | 38.61 | 2.24 | 0.6 | 1.91 | 0.11 | 122.06 | 48.7 | 2.83 | 9.86 | 4.4 | 0.26 | 15.73 | 5.86 | 0.42 | 12.3 | 1.63 | 0.09 | 12.13 | 4.5 | 0.26
06 W_Hamilton__211029094903_Waves_001.txt | 211029 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 28 | 445 | 10.31 | 29.67 | 1.72 | 0.08 | 17.13 | 1.23 | 0.06 | 14.57 | 1.02 | 0.05 | 162.58 | 96.01 | 4.71 | 11.67 | 6.97 | 0.34 | 249.42 | 98.36 | 4.83 | 18 | 7.07 | 0.35 | 19.64 | 3.31 | 0.16 | 20.39 | 5.09 | 0.25 | 24.41 | 2.18 | 0.11
07 W_Hamilton__211110111828_Waves_001 3719889.txt | 3719889 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 18 | 720.26 | 8.85 | 18.7 | 1.38 | 0.08 | 7.43 | 0.7 | 0.04 | 4.44 | 0.39 | 0.02 | 141.45 | 16.21 | 0.99 | 11.69 | 1.2 | 0.07 | 82.49 | 11.72 | 0.72 | 7.01 | 1.05 | 0.06 | 12.94 | 1.57 | 0.1 | 10.79 | 1.05 | 0.06 | 18.55 | 1.07 | 0.07
08 W_Hamilton__211110115609_Waves_001 7146445.txt | 7146445 | PCV - pressure controlled ventilation | - | Airway pressure + transpulmonary pressure | 15 | 17 | 613.82 | 6.68 | 5.21 | 4.45 | 0.66 | 1.91 | 1.59 | 0.24 | 0.47 | 0.49 | 0.13 | 18.43 | 30.16 | 4.5 | 0.84 | 0.85 | 0.13 | 60.62 | 51.75 | 7.71 | 4.37 | 3.88 | 0.58 | 3.88 | 3.9 | 1.01 | 12.29 | 1.44 | 0.21 | 12.42 | 1.64 | 0.24